## Residential Hourly Labor Rates
Rate Inputs
Input Label | Value
Labor Burden Multiplier | 1.85
Residential Billing Multiplier | 1.4
After Hours / Emergency Multiplier | 1.45
Holiday Rate Multiplier | 1.75
Position Rate Table
Position Title | SKU | Base Hourly Rate | Actual Cost of Labor | Standard Billing Rate | After Hours Rate | Holiday Rate | Labor Rate %
Tech 1 / 2 | LAB-RES-T12-SIS | 18 | 33.3 | 46.62 | 67.599 | 81.585 | 60%
Senior Technician | LAB-RES-SRT-SIS | 26 | 48.1 | 67.34 | 97.643 | 117.845 | 25%
Programmer | LAB-RES-PRG-SIS | 32 | 59.2 | 82.88 | 120.176 | 145.04 | 15%
Service Technician | LAB-RES-SVC-SIS | 22 | 40.7 | 56.98 | 82.621 | 99.715 | 0%
Project Positions Total | [6 empty] | 100%
Notes
* Service Technician is for service billing only, not included in project labor mix.

## Complexity Multipliers
Description | Multiplier Category | Multiplier Type | Applied To | Modification Rate | Notes and Rules
Retrofit Cable Fishing and Finished Wall Work | Structural | Percentage Basis | Total Labor Cost | 15% | Applied when installation requires cable routing through existing finished walls, insulated cavities, attic spaces, or inaccessible framing conditions without open wall access. Reflects increased labor associated with cable fishing, access hole minimization, patch avoidance, and finish protection during retrofit installation activities.
Luxury Residential Finish Protection Requirements | Structural | Percentage Basis | Total Labor Cost | 10% | Applied when installation occurs within high-end residential environments requiring enhanced protection of flooring, cabinetry, millwork, stone surfaces, designer finishes, or furnished living areas. Reflects increased setup time, protective material usage, and reduced installation speed necessary to prevent property damage.
Smart Home System Integration Complexity | Systems Integration | Percentage Basis | Total Labor Cost | 18% | Applied when project scope includes integration between multiple smart home subsystems including lighting control, access control, HVAC automation, surveillance, distributed audio, shading systems, or third-party platforms. Reflects increased programming, commissioning, troubleshooting, and interoperability validation requirements.
Advanced Automation Programming and Scene Logic | Systems Integration | Percentage Basis | Programming Labor | 20% | Applied when client requested automation includes conditional logic, occupancy-based automation, scene programming, scheduling routines, geofencing, voice assistant integration, or custom automation sequences beyond standard device onboarding and configuration. Reflects increased software configuration and testing requirements.
Residential Network Infrastructure Complexity | Systems Integration | Percentage Basis | Network Labor | 15% | Applied when installation includes managed networking equipment, VLAN configuration, VPN setup, multi-access-point roaming optimization, rack-mounted network systems, or high-density IoT environments supporting integrated smart home systems. Reflects increased configuration, validation, and troubleshooting requirements associated with advanced residential networking infrastructure.
Client-Supplied Smart Devices and Equipment | Administrative | Percentage Basis | Total Labor Cost | 12% | Applied when installation includes owner furnished equipment or smart devices not procured through the integrator. Reflects increased troubleshooting risk, compatibility uncertainty, incomplete component availability, and lack of standardized hardware validation prior to deployment.
Wi-Fi Dependent System Deployment | Systems Integration | Percentage Basis | Total Labor Cost | 8% | Applied when primary system functionality relies substantially on wireless communication including Wi-Fi smart devices, wireless cameras, wireless lighting controls, or mesh network connectivity. Reflects increased commissioning time, signal validation requirements, interference mitigation, and post-installation troubleshooting exposure.
Structured Media Enclosure or Rack Buildout | Structural | Percentage Basis | Total Labor Cost | 10% | Applied when project includes structured wiring panel organization, rack assembly, cable management systems, patch panel termination, UPS integration, or professionally dressed low-voltage infrastructure. Reflects additional labor associated with organized system layout, labeling, and serviceability standards.
High Device Density Smart Home Deployment | Systems Integration | Percentage Basis | Total Labor Cost | 15% | Applied when smart home installation includes a large quantity of interconnected devices exceeding standard residential deployment density including extensive lighting zones, sensors, cameras, touch panels, speakers, or automation endpoints. Reflects increased commissioning complexity, network demands, and interoperability validation requirements.
Remote Property or Vacation Home Support Requirements | Access | Percentage Basis | Total Labor Cost | 10% | Applied when installation occurs within a secondary residence, vacation rental, or remotely managed property requiring remote access configuration, remote troubleshooting capability, automated recovery considerations, or extended support coordination with absentee property owners.
Occupied Residential Installation Conditions | Access | Percentage Basis | Total Labor Cost | 8% | Applied when installation must occur within an actively occupied residence requiring daily cleanup, limited work hour coordination, protection of occupied living areas, pet containment considerations, or phased room access coordination with homeowners.
Interior Designer or Builder Coordination Requirements | Administrative | Percentage Basis | Total Labor Cost | 10% | Applied when project requires recurring coordination with interior designers, custom builders, architects, or other trades regarding device placement, finish selections, concealment methods, or schedule dependencies. Reflects increased project management and coordination demands.
Concealed Equipment and Minimal Visibility Requirements | Structural | Percentage Basis | Total Labor Cost | 15% | Applied when client requires hidden wiring, concealed equipment placement, flush-mounted devices, invisible speaker systems, hidden television installations, or minimized visible infrastructure. Reflects increased labor associated with custom mounting methods and aesthetic preservation.
Legacy Smart Home System Integration | Systems Integration | Percentage Basis | Total Labor Cost | 18% | Applied when new equipment must integrate with or coexist alongside legacy automation systems, outdated hardware, unsupported protocols, or partially undocumented existing installations. Reflects increased troubleshooting time, compatibility limitations, and commissioning uncertainty.
Premium Client Training and System Orientation | Administrative | Percentage Basis | Total Labor Cost | 5% | Applied when project includes extended homeowner training, customized system documentation, personalized automation walkthroughs, or multi-user operational orientation sessions beyond standard turnover procedures.
Managed Service and Remote Monitoring Enablement | Service | Percentage Basis | Total Labor Cost | 8% | Applied when installation includes remote monitoring agents, cloud management platforms, managed network support configuration, remote firmware management, or proactive support infrastructure preparation. Reflects additional setup and validation labor associated with long-term managed service deployment.

## Material Categories
This tab tracks material categories and associated labor units only. No pricing is stored on this tab. Material pricing is market dependent and is obtained at time of quoting from current vendor pricing. Do not add price columns to this tab.
Material Description | SKU | Unit of Measure | Labor Units Per Unit | Labor Unit Notes | Category | System Type
TIA Compliant CAT6 CMP Cable | TIA-CAT6-CMP-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT6A CMP Cable | TIA-CAT6A-CMP-FT-SIS | FEET | 0.01 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT6 CMR Cable | TIA-CAT6-CMR-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT6A CMR Cable | TIA-CAT6A-CMR-FT-SIS | FEET | 0.01 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT6 OSP Cable | TIA-CAT6-OSP-FT-SIS | FEET | 0.01 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT6A OSP Cable | TIA-CAT6A-OSP-FT-SIS | FEET | 0.012 | Includes pull, dress, and support. Does not include termination. | Network Cabling | Networking & Data
TIA Compliant CAT5e CMP Cable | TIA-GEN-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Special Requests Cabling | Networking & Data
TIA Compliant CAT5e CMR Cable | TIA-GEN-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Special Requests Cabling | Networking & Data
TIA Compliant CAT5e OSP Cable | TIA-GEN-OSP-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Special Requests Cabling | Networking & Data
Low Voltage Coax RG6 | LVC-RG6-UNT-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Special Requests Cabling | Networking & Data
Low Voltage Cable 18-2C Shielded CMP | LVC-18/2-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-6C Shielded CMP | LVC-22/6-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-2C Shielded CMP | LVC-22/2-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-4C Shielded CMP | LVC-22/4-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-4C Shielded CMP | LVC-18/4-CMP-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-6C Shielded CMP | LVC-18/6-CMP-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 4 Element CMP Composite 18-4C, 22-2C, 22-4C, 22-6C | LVC-COMP-CMP-FT-SIS | FEET | 0.01 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-2C Shielded CMR | LVC-18/2-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-6C Shielded CMR | LVC-22/6-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-2C Shielded CMR | LVC-22/2-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-4C Shielded CMR | LVC-22/4-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-4C Shielded CMR | LVC-18/4-CMR-FT-SIS | FEET | 0.007 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-6C Shielded CMR | LVC-18/6-CMR-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 4 Element CMR Composite 18-4C, 22-2C, 22-4C, 22-6C | LVC-COMP-CMR-FT-SIS | FEET | 0.01 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-2C Shielded Outdoor | LVC-18/2-OUT-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-6C Shielded Outdoor | LVC-22/6-OUT-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-2C Shielded Outdoor | LVC-22/2-OUT-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 22-4C Shielded Outdoor | LVC-22/4-OUT-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-4C Shielded Outdoor | LVC-18/4-OUT-FT-SIS | FEET | 0.008 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 18-6C Shielded Outdoor | LVC-18/6-OUT-FT-SIS | FEET | 0.009 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
Low Voltage Cable 4 Element Outdoor Composite 18-4C, 22-2C, 22-4C, 22-6C | LVC-COMP-OUT-FT-SIS | FEET | 0.012 | Includes pull, dress, and support. Does not include termination. | Security Cabling | Access Control & Security
J-Hook Cable Support 3/4" (Select Appropriate Attachment Type) | JHK-3/4IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 1" (Select Appropriate Attachment Type) | JHK-1IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 1.5" (Select Appropriate Attachment Type) | JHK-1.5IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 2" (Select Appropriate Attachment Type) | JHK-2IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 2.5" (Select Appropriate Attachment Type) | JHK-2.5IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 3" (Select Appropriate Attachment Type) | JHK-3IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
J-Hook Cable Support 4" (Select Appropriate Attachment Type) | JHK-4IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure J-Hook to mounting point. | Cable Pathway | Access Control & Security
Stright Grid Wire With Clip Cable Support | GRD-STRT-SUP-EA-SIS | EACH | 0.008 | Includes labor to install ceiling grid wire with mounting clip to roof deck. | Cable Pathway | Access Control & Security
Cable Loop 2.5" Cable Support (Select Appropriate Attachement Type) | CLP-2.5IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure cable loop to mounting point. | Cable Pathway | Access Control & Security
Cable Loop 4" Cable Support (Select Appropriate Attachement Type) | CLP-4IN-SUP-EA-SIS | EACH | 0.012 | Includes labor to install and properly secure cable loop to mounting point. | Cable Pathway | Access Control & Security
Eyelet Lag Screw for Grid Wire Attachment | GRD-STRT-MNT-EA-SIS | EACH | 0.003 | Includes labor to attach screw to supporting surface. | Cable Pathway | Access Control & Security
EMT 3/4" Conduit Sleeve with Bushings | SLV-EMT-3/4IN-EA-SIS | EACH | 0.355 | Includes labor to install conduit sleeve with bushingings for standard penetration | Cable Pathway | Access Control & Security
EMT 1" Conduit Sleeve with Bushings | SLV-EMT-1IN-EA-SIS | EACH | 0.365 | Includes labor to install conduit sleeve with bushingings for standard penetration | Cable Pathway | Access Control & Security
EMT 1.5" Conduit Sleeve with Bushings | SLV-EMT-1.5IN-EA-SIS | EACH | 0.375 | Includes labor to install conduit sleeve with bushingings for standard penetration | Cable Pathway | Access Control & Security
EMT 2" Conduit Sleeve with Bushings | SLV-EMT-2IN-EA-SIS | EACH | 0.395 | Includes labor to install conduit sleeve with bushingings for standard penetration | Cable Pathway | Access Control & Security
EMT 4" Conduit Sleeve with Bushings | SLV-EMT-4IN-EA-SIS | EACH | 0.425 | Includes labor to install conduit sleeve with bushingings for standard penetration | Cable Pathway | Access Control & Security
Fire Rated Quick Sleeve 1" Assembly | SLV-FRQ-1IN-EA-SIS | EACH | 0.425 | Includes labor to install fire rated quick sleeve assembly for fire rate partitions | Cable Pathway | Access Control & Security
Fire Rated Quick Sleeve 2" Assembly | SLV-FRQ-2IN-EA-SIS | EACH | 0.455 | Includes labor to install fire rated quick sleeve assembly for fire rate partitions | Cable Pathway | Access Control & Security
Fire Rated Quick Sleeve 4" Assembly | SLV-FRQ-4IN-EA-SIS | EACH | 0.5 | Includes labor to install fire rated quick sleeve assembly for fire rate partitions | Cable Pathway | Access Control & Security
Cut-in Low Voltage Old Work Bracket 1-Gang | BKT-LVC-1G-EA-SIS | EACH | 0.085 | Includes labor to cut-in low voltage old work bracket on standard gypsum wall | Cable Pathway | Access Control & Security
Cut-in Low Voltage Old Work Bracket 2-Gang | BKT-LVC-2G-EA-SIS | EACH | 0.095 | Includes labor to cut-in low voltage old work bracket on standard gypsum wall | Cable Pathway | Access Control & Security
Cut-in Low Voltage Old Work Bracket 3-Gang | BKT-LVC-3G-EA-SIS | EACH | 0.105 | Includes labor to cut-in low voltage old work bracket on standard gypsum wall | Cable Pathway | Access Control & Security
Recessed Media Panel 24"-48" Standard Unit | RCK-MED2448-REC-EA-SIS | EACH | 0.375 | Includes labor to install standard sized recessed media panel on standard wall | Headend Installation | Networking & Data
2RU 2 Post Wall Mounted Rack | RCK-2P-WM-2RU-EA-SIS | EACH | 0.675 | Includes labor to assemble and install standard 2RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
4RU 2 Post Wall Mounted Rack | RCK-2P-WM-4RU-EA-SIS | EACH | 0.775 | Includes labor to assemble and install standard 4RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
6RU 2-Post Wall Mounted Rack or Cabinet | RCK-2P-WM-6RU-EA-SIS | EACH | 0.875 | Includes labor to assemble and install standard 6RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
8RU 2-Post Wall Mounted Rack or Cabinet | RCK-2P-WM-8RU-EA-SIS | EACH | 0.975 | Includes labor to assemble and install standard 8RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
10RU 2-Post Wall Mounted Rack or Cabinet | RCK-2P-WM-10RU-EA-SIS | EACH | 1.075 | Includes labor to assemble and install standard 10RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
12RU 2-Post Wall Mounted Rack or Cabinet | RCK-2P-WM-12RU-EA-SIS | EACH | 1.175 | Includes labor to assemble and install standard 12RU 2-Post Wall Mounted Racks | Network Racks | Networking & Data
13RU 2-Post Floor Mounted Rack or Cabinet | RCK-2P-FM-13RU-EA-SIS | EACH | 1.275 | Includes labor to assemble and install standard 13RU 2-Post Floor Mounted Racks | Network Racks | Networking & Data
15RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-15RU-EA-SIS | EACH | 1.375 | Includes labor to assemble and install standard 15RU 2-Post Racks | Network Racks | Networking & Data
16RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-16RU-EA-SIS | EACH | 1.475 | Includes labor to assemble and install standard 16RU 2-Post Racks | Network Racks | Networking & Data
18RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-18RU-EA-SIS | EACH | 1.575 | Includes labor to assemble and install standard 18RU 2-Post Racks | Network Racks | Networking & Data
20RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-20RU-EA-SIS | EACH | 1.675 | Includes labor to assemble and install standard 20RU 2-Post Racks | Network Racks | Networking & Data
22RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-22RU-EA-SIS | EACH | 1.775 | Includes labor to assemble and install standard 22RU 2-Post Racks | Network Racks | Networking & Data
25RU 2-Post Floor or Wall Mounted Rack or Cabinet | RCK-2P-FWM-25RU-EA-SIS | EACH | 1.875 | Includes labor to assemble and install standard 20RU 2-Post Racks | Network Racks | Networking & Data
42RU 2-Post Floor Mounted Rack or Cabinet | RCK-2P-FM-42RU-EA-SIS | EACH | 2.275 | Includes labor to assemble and install standard 42RU 2-Post Racks | Network Racks | Networking & Data
45RU 2-Post Floor Mounted Rack or Cabinet | RCK-2P-FM-45RU-EA-SIS | EACH | 2.375 | Includes labor to assemble and install standard 45RU 2-Post Racks | Network Racks | Networking & Data
6RU 4-Post Wall Mounted Rack or Cabinet | RCK-4P-WM-6RU-EA-SIS | EACH | 1.175 | Includes labor to assemble and install standard 6RU 4-Post Wall Mounted Racks | Network Racks | Networking & Data
8RU 4-Post Wall Mounted Rack or Cabinet | RCK-4P-WM-8RU-EA-SIS | EACH | 1.275 | Includes labor to assemble and install standard 8RU 4-Post Wall Mounted Racks | Network Racks | Networking & Data
10RU 4-Post Wall Mounted Rack or Cabinet | RCK-4P-WM-10RU-EA-SIS | EACH | 1.375 | Includes labor to assemble and install standard 10RU 4-Post Wall Mounted Racks | Network Racks | Networking & Data
12RU 4-Post Wall Mounted Rack or Cabinet | RCK-4P-WM-12RU-EA-SIS | EACH | 1.475 | Includes labor to assemble and install standard 12RU 4-Post Wall Mounted Racks | Network Racks | Networking & Data
13RU 4-Post Floor Mounted Rack or Cabinet | RCK-4P-FM-13RU-EA-SIS | EACH | 1.575 | Includes labor to assemble and install standard 13RU 4-Post Floor Mounted Racks | Network Racks | Networking & Data
15RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-15RU-EA-SIS | EACH | 1.675 | Includes labor to assemble and install standard 15RU 4-Post Racks | Network Racks | Networking & Data
16RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-16RU-EA-SIS | EACH | 1.775 | Includes labor to assemble and install standard 16RU 4-Post Racks | Network Racks | Networking & Data
18RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-18RU-EA-SIS | EACH | 1.875 | Includes labor to assemble and install standard 18RU 4-Post Racks | Network Racks | Networking & Data
20RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-20RU-EA-SIS | EACH | 1.975 | Includes labor to assemble and install standard 20RU 4-Post Racks | Network Racks | Networking & Data
22RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-22RU-EA-SIS | EACH | 2.075 | Includes labor to assemble and install standard 22RU 4-Post Racks | Network Racks | Networking & Data
25RU 4-Post Floor or Wall Mounted Rack or Cabinet | RCK-4P-FWM-25RU-EA-SIS | EACH | 2.175 | Includes labor to assemble and install standard 20RU 4-Post Racks | Network Racks | Networking & Data
42RU 4-Post Floor Mounted Rack or Cabinet | RCK-4P-FM-42RU-EA-SIS | EACH | 2.575 | Includes labor to assemble and install standard 42RU 4-Post Racks | Network Racks | Networking & Data
45RU 4-Post Floor Mounted Rack or Cabinet | RCK-4P-FM-45RU-EA-SIS | EACH | 2.675 | Includes labor to assemble and install standard 45RU 4-Racks | Network Racks | Networking & Data
Unloaded 24-Port Flat Modular Patch Panel | PPNL-UNL24-FLT-EA-SIS | EACH | 0.25 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Unloaded 48-Port Flat Modular Patch Panel | PPNL-UNL48-FLT-EA-SIS | EACH | 0.35 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Unloaded 72-Port Flat Modular Patch Panel | PPNL-UNL72-FLT-EA-SIS | EACH | 0.45 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Unloaded 24-Port Angled Modular Patch Panel | PPNL-UNL24-ANG-EA-SIS | EACH | 0.25 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Unloaded 48-Port Angled Modular Patch Panel | PPNL-UNL48-ANG-EA-SIS | EACH | 0.35 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Unloaded 72-Port Angled Modular Patch Panel | PPNL-UNL72-ANG-EA-SIS | EACH | 0.45 | Includes labor to mount and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Shielded 24-Port Modular Patch Panel | PPNL-SHD24-UNT-EA-SIS | EACH | 0.35 | Includes labor to mount, ground, and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Shielded 48-Port Modular Patch Panel | PPNL-SHD48-UNT-EA-SIS | EACH | 0.45 | Includes labor to mount, ground, and label panel on rack. Does not include termination. | Patch Panels & Termination Hardware | Networking & Data
Loaded 24-Port CAT6 Patch Panel | PPNL-LOD24-UNT-EA-SIS | EACH | 1.25 | Includes labor to mount, label, and terminate 24 ports. | Patch Panels & Termination Hardware | Networking & Data
Loaded 48-Port CAT6 Patch Panel | PPNL-LOD48-UNT-EA-SIS | EACH | 2.5 | Includes labor to mount, label, and terminate 48 ports. | Patch Panels & Termination Hardware | Networking & Data
Standard CAT6 Keystone Jack | JACK-CAT6-STD-EA-SIS | EACH | 0.05 | Includes labor to terminate and test single keystone jack. | Patch Panels & Termination Hardware | Networking & Data
Shielded CAT6 Keystone Jack | JACK-CAT6-SHD-EA-SIS | EACH | 0.08 | Includes labor to terminate, ground, and test single shielded keystone jack. | Patch Panels & Termination Hardware | Networking & Data
Standard CAT6A Keystone Jack | JACK-CAT6A-STD-EA-SIS | EACH | 0.06 | Includes labor to terminate and test single CAT6A keystone jack. | Patch Panels & Termination Hardware | Networking & Data
Single-Gang 1-Port Faceplate | FPLT-SG1-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 2-Port Faceplate | FPLT-SG2-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 3-Port Faceplate | FPLT-SG3-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 4-Port Faceplate | FPLT-SG4-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 6-Port Faceplate | FPLT-SG6-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Double-Gang 2-Port Faceplate | FPLT-DG2-UNT-EA-SIS | EACH | 0.06 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Double-Gang 4-Port Faceplate | FPLT-DG4-UNT-EA-SIS | EACH | 0.06 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Double-Gang 6-Port Faceplate | FPLT-DG6-UNT-EA-SIS | EACH | 0.06 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Double-Gang 8-Port Faceplate | FPLT-DG8-UNT-EA-SIS | EACH | 0.06 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Double-Gang 12-Port Faceplate | FPLT-DG12-UNT-EA-SIS | EACH | 0.06 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 2-Port Angled Faceplate | FPLT-SG2-ANG-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Single-Gang 4-Port Angled Faceplate | FPLT-SG4-ANG-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Decorator Style 2-Port Faceplate Insert | FPLT-DEC2-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate insert. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Decorator Style 4-Port Faceplate Insert | FPLT-DEC4-UNT-EA-SIS | EACH | 0.05 | Includes labor to install and label faceplate insert. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Floor Box Communications Plate | FPLT-FLR-UNT-EA-SIS | EACH | 0.15 | Includes labor to install and label floor box communications plate. Does not include jack termination. | Faceplates & Wall Outlets | Networking & Data
Recessed Media Panel 14" Standard Unit | RCK-MED14-REC-EA-SIS | EACH | 0.3 | Includes labor to install standard sized recessed media panel on standard wall. | Headend / Rack Equipment Installation | Networking & Data
Recessed Media Panel 28" Standard Unit | RCK-MED28-REC-EA-SIS | EACH | 0.4 | Includes labor to install standard sized recessed media panel on standard wall. | Headend / Rack Equipment Installation | Networking & Data
Recessed Media Panel 42" Standard Unit | RCK-MED42-REC-EA-SIS | EACH | 0.5 | Includes labor to install standard sized recessed media panel on standard wall. | Headend / Rack Equipment Installation | Networking & Data
1RU Rack-Mount UPS | RCK-UPS1-MNT-EA-SIS | EACH | 0.5 | Includes labor to mount and connect UPS unit in rack. | Headend / Rack Equipment Installation | Networking & Data
2RU Rack-Mount UPS | RCK-UPS2-MNT-EA-SIS | EACH | 0.75 | Includes labor to mount and connect UPS unit in rack. | Headend / Rack Equipment Installation | Networking & Data
3RU Rack-Mount UPS | RCK-UPS3-MNT-EA-SIS | EACH | 1 | Includes labor to mount and connect UPS unit in rack. | Headend / Rack Equipment Installation | Networking & Data
1RU Horizontal Rack-Mount PDU | RCK-PDU1-HOR-EA-SIS | EACH | 0.25 | Includes labor to mount and route power cable for horizontal PDU. | Headend / Rack Equipment Installation | Networking & Data
Vertical Rack-Mount PDU | RCK-PDU-VER-EA-SIS | EACH | 0.5 | Includes labor to mount and route power cable for vertical PDU. | Headend / Rack Equipment Installation | Networking & Data
Fixed Rack Shelf | RCK-SHF-FIX-EA-SIS | EACH | 0.2 | Includes labor to assemble and mount fixed rack shelf. | Headend / Rack Equipment Installation | Networking & Data
Cantilever Rack Shelf | RCK-SHF-CAN-EA-SIS | EACH | 0.15 | Includes labor to assemble and mount cantilever rack shelf. | Headend / Rack Equipment Installation | Networking & Data
1RU Horizontal Cable Manager | RCK-MGR1-HOR-EA-SIS | EACH | 0.15 | Includes labor to mount horizontal cable manager on rack. | Headend / Rack Equipment Installation | Networking & Data
2RU Horizontal Cable Manager | RCK-MGR2-HOR-EA-SIS | EACH | 0.2 | Includes labor to mount horizontal cable manager on rack. | Headend / Rack Equipment Installation | Networking & Data
1RU Blank Panel | RCK-BLK1-UNT-EA-SIS | EACH | 0.05 | Includes labor to mount blank panel on rack. | Headend / Rack Equipment Installation | Networking & Data
2RU Blank Panel | RCK-BLK2-UNT-EA-SIS | EACH | 0.05 | Includes labor to mount blank panel on rack. | Headend / Rack Equipment Installation | Networking & Data
Vertical Cable Manager | RCK-MGR-VER-EA-SIS | EACH | 0.5 | Includes labor to assemble and mount vertical cable manager on rack. | Headend / Rack Equipment Installation | Networking & Data
Surface Mount Door Contact | ACC-CNT-SUR-EA-SIS | EACH | 0.35 | Includes labor to mount, terminate, and test surface mount door contact. | Access Control Devices | Access Control & Security
Recessed Standard Door Contact | ACC-CNT-REC-EA-SIS | EACH | 0.5 | Includes labor to drill, mount, terminate, and test recessed door contact. | Access Control Devices | Access Control & Security
Recessed Wide-Gap/Stubby Door Contact | ACC-CNT-STB-EA-SIS | EACH | 0.5 | Includes labor to drill, mount, terminate, and test recessed wide-gap door contact. | Access Control Devices | Access Control & Security
Overhead/Garage Door Contact | ACC-CNT-OVH-EA-SIS | EACH | 0.75 | Includes labor to mount, terminate, and test overhead door contact. | Access Control Devices | Access Control & Security
Standard PIR Motion Detector | ALM-PIR-STD-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test standard PIR motion detector. | Intrusion/Alarm Devices | Access Control & Security
Pet-Immune PIR Motion Detector | ALM-PIR-PET-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test pet-immune PIR motion detector. | Intrusion/Alarm Devices | Access Control & Security
Dual-Tech Motion Detector | ALM-PIR-DUA-EA-SIS | EACH | 0.6 | Includes labor to mount, terminate, and test dual-tech motion detector. | Intrusion/Alarm Devices | Access Control & Security
Glass Break Detector | ALM-GBD-UNT-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test glass break detector. | Intrusion/Alarm Devices | Access Control & Security
Interior Siren/Strobe | ALM-SIR-INT-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test interior siren/strobe. | Intrusion/Alarm Devices | Access Control & Security
Exterior Siren/Strobe | ALM-SIR-EXT-EA-SIS | EACH | 0.75 | Includes labor to mount, terminate, and test exterior siren/strobe. | Intrusion/Alarm Devices | Access Control & Security
Intrusion Alarm Keypad | ALM-KPD-UNT-EA-SIS | EACH | 0.75 | Includes labor to mount, terminate, and test alarm keypad. | Intrusion/Alarm Devices | Access Control & Security
16-Zone Alarm Control Panel | ALM-PNL-16ZN-EA-SIS | EACH | 1.75 | Includes labor to mount enclosure, install panel, and terminate field wiring. | Intrusion/Alarm Devices | Access Control & Security
28-Zone Alarm Control Panel | ALM-PNL-28ZN-EA-SIS | EACH | 2.15 | Includes labor to mount enclosure, install panel, and terminate field wiring. | Intrusion/Alarm Devices | Access Control & Security
48-Zone Alarm Control Panel | ALM-PNL-48ZN-EA-SIS | EACH | 2.75 | Includes labor to mount enclosure, install panel, and terminate field wiring. | Intrusion/Alarm Devices | Access Control & Security
96-Zone Alarm Control Panel | ALM-PNL-96ZN-EA-SIS | EACH | 3.75 | Includes labor to mount enclosure, install panel, and terminate field wiring. | Intrusion/Alarm Devices | Access Control & Security
Fixed IP Dome Camera | CAM-DOM-FIX-EA-SIS | EACH | 0.75 | Includes labor to mount, terminate, aim, and focus dome camera. | Camera Systems (IP) | Access Control & Security
Fixed IP Bullet Camera | CAM-BUL-FIX-EA-SIS | EACH | 0.75 | Includes labor to mount, terminate, aim, and focus bullet camera. | Camera Systems (IP) | Access Control & Security
IP PTZ Camera | CAM-PTZ-UNT-EA-SIS | EACH | 1.5 | Includes labor to mount, terminate, and configure PTZ camera. | Camera Systems (IP) | Access Control & Security
IP Fisheye/360 Camera | CAM-FSH-360-EA-SIS | EACH | 1 | Includes labor to mount, terminate, and configure 360-degree camera. | Camera Systems (IP) | Access Control & Security
Camera Mounting Junction Box | CAM-JBOX-UNT-EA-SIS | EACH | 0.25 | Includes labor to install camera mounting junction box. | Camera Systems (IP) | Access Control & Security
Single Port PoE Injector | POE-INJ-1PT-EA-SIS | EACH | 0.15 | Includes labor to mount and connect single port PoE injector. | Power over Ethernet (PoE) | Networking & Data
PoE Mid-Span Extender | POE-EXT-MID-EA-SIS | EACH | 0.25 | Includes labor to mount and connect PoE mid-span extender. | Power over Ethernet (PoE) | Networking & Data
8-Port Rack-Mount PoE Switch | POE-SWT-8PT-EA-SIS | EACH | 0.5 | Includes labor to mount and connect 8-port PoE switch. | Power over Ethernet (PoE) | Networking & Data
16-Port Rack-Mount PoE Switch | POE-SWT-16PT-EA-SIS | EACH | 0.75 | Includes labor to mount and connect 16-port PoE switch. | Power over Ethernet (PoE) | Networking & Data
24-Port Rack-Mount PoE Switch | POE-SWT-24PT-EA-SIS | EACH | 1 | Includes labor to mount and connect 24-port PoE switch. | Power over Ethernet (PoE) | Networking & Data
48-Port Rack-Mount PoE Switch | POE-SWT-48PT-EA-SIS | EACH | 1.5 | Includes labor to mount and connect 48-port PoE switch. | Power over Ethernet (PoE) | Networking & Data
Ceiling-Mount Wireless Access Point | WAP-CEL-UNT-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test ceiling-mount WAP. | Wireless Infrastructure | Networking & Data
Wall-Mount Wireless Access Point | WAP-WAL-UNT-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test wall-mount WAP. | Wireless Infrastructure | Networking & Data
Outdoor Wireless Access Point | WAP-OUT-UNT-EA-SIS | EACH | 1 | Includes labor to mount, terminate, and test outdoor WAP. | Wireless Infrastructure | Networking & Data
Fixed TV Mount (Up to 55") | AV-MNT-FIX55-EA-SIS | EACH | 1 | Includes labor to assemble and install fixed mount for TV up to 55". | Display & A/V Devices | Audio Visual
Fixed TV Mount (56"-85") | AV-MNT-FIX85-EA-SIS | EACH | 1.5 | Includes labor to assemble and install fixed mount for TV 56"-85". | Display & A/V Devices | Audio Visual
Fixed TV Mount (86"+) | AV-MNT-FIX86-EA-SIS | EACH | 2.5 | Includes labor to assemble and install fixed mount for TV 86"+. | Display & A/V Devices | Audio Visual
Tilting TV Mount (Up to 55") | AV-MNT-TLT55-EA-SIS | EACH | 1.25 | Includes labor to assemble and install tilting mount for TV up to 55". | Display & A/V Devices | Audio Visual
Tilting TV Mount (56"-85") | AV-MNT-TLT85-EA-SIS | EACH | 1.75 | Includes labor to assemble and install tilting mount for TV 56"-85". | Display & A/V Devices | Audio Visual
Tilting TV Mount (86"+) | AV-MNT-TLT86-EA-SIS | EACH | 2.75 | Includes labor to assemble and install tilting mount for TV 86"+. | Display & A/V Devices | Audio Visual
Full-Motion TV Mount (Up to 55") | AV-MNT-FUL55-EA-SIS | EACH | 1.5 | Includes labor to assemble and install full-motion mount for TV up to 55". | Display & A/V Devices | Audio Visual
Full-Motion TV Mount (56"-85") | AV-MNT-FUL85-EA-SIS | EACH | 2 | Includes labor to assemble and install full-motion mount for TV 56"-85". | Display & A/V Devices | Audio Visual
Full-Motion TV Mount (86"+) | AV-MNT-FUL86-EA-SIS | EACH | 3 | Includes labor to assemble and install full-motion mount for TV 86"+. | Display & A/V Devices | Audio Visual
In-Ceiling Speaker Rough-In Bracket | AV-SPK-BKT-EA-SIS | EACH | 0.25 | Includes labor to install speaker rough-in bracket during pre-wire. | Display & A/V Devices | Audio Visual
In-Wall Volume Control | AV-VOL-UNT-EA-SIS | EACH | 0.5 | Includes labor to mount, terminate, and test in-wall volume control. | Display & A/V Devices | Audio Visual
HDMI/AV Wall Plate | AV-WPL-UNT-EA-SIS | EACH | 0.25 | Includes labor to install and terminate HDMI/AV wall plate. | Display & A/V Devices | Audio Visual
Residential Smart Thermostat - Standard | SMH-THM-STD-EA-SIS | EACH | 0.75 | Includes labor to remove existing thermostat, install smart thermostat, connect to Wi-Fi, perform initial configuration, firmware updates, and functional testing. | Smart Home Devices | Residential Smart Home
Residential Smart Thermostat - Premium Multi-Stage | SMH-THM-PRM-EA-SIS | EACH | 1.25 | Includes labor to remove existing thermostat, install premium smart thermostat with multi-stage HVAC support, configure advanced scheduling, connect to Wi-Fi, perform firmware updates, and validate HVAC operation. | Smart Home Devices | Residential Smart Home
Residential Smart Lock - Standard Retrofit Deadbolt | SMH-LCK-STD-EA-SIS | EACH | 0.85 | Includes labor to remove existing hardware, install standard smart lock, pair to mobile application, configure user codes, and perform operational testing. | Smart Home Devices | Residential Smart Home
Residential Smart Lock - Premium Wi-Fi/Z-Wave/Zigbee Deadbolt | SMH-LCK-PRM-EA-SIS | EACH | 1.25 | Includes labor to remove existing hardware, install premium smart lock, integrate with automation platform, configure remote access, create user profiles, and perform operational testing and firmware updates. | Smart Home Devices | Residential Smart Home
Residential Smart Garage Door Controller | SMH-GDO-CTRL-EA-SIS | EACH | 1 | Includes labor to install smart garage controller, integrate safety sensor interface, connect to Wi-Fi or automation platform, configure remote access, and perform functional testing. | Smart Home Devices | Residential Smart Home
Residential Smart Leak Detection Sensor | SMH-SNS-LKD-EA-SIS | EACH | 0.35 | Includes labor to mount, pair, configure notifications, and test smart leak detection sensor. | Smart Home Devices | Residential Smart Home
Residential Smart Door/Window Sensor | SMH-SNS-DWS-EA-SIS | EACH | 0.3 | Includes labor to mount, pair, configure automation platform integration, and test smart contact sensor. | Smart Home Devices | Residential Smart Home
Residential Smart Motion Sensor | SMH-SNS-MTN-EA-SIS | EACH | 0.35 | Includes labor to mount, pair, configure automation triggers, and perform operational testing. | Smart Home Devices | Residential Smart Home
Residential Smart Plug or Smart Outlet | SMH-PLG-STD-EA-SIS | EACH | 0.25 | Includes labor to install or pair smart plug/outlet, configure mobile application or automation platform integration, and perform functional testing. | Smart Home Devices | Residential Smart Home
Residential Smart Light Switch or Dimmer | SMH-SWT-DIM-EA-SIS | EACH | 0.5 | Includes labor to remove existing switch, install smart switch or dimmer, configure wireless integration, and perform operational testing. | Smart Home Devices | Residential Smart Home
Residential Zigbee Device Enrollment | SMH-ZGB-DEV-EA-SIS | EACH | 0.2 | Includes labor to pair Zigbee device to automation coordinator, validate mesh connectivity, label device within management platform, and perform operational testing. | Smart Home Devices | Residential Smart Home
Residential Z-Wave Device Enrollment | SMH-ZWV-DEV-EA-SIS | EACH | 0.25 | Includes labor to pair Z-Wave device to automation controller, validate mesh connectivity, configure network inclusion, and perform operational testing. | Smart Home Devices | Residential Smart Home
Residential Smart Home Hub Installation | SMH-HUB-UNT-EA-SIS | EACH | 1.25 | Includes labor to install and configure smart home hub or controller, connect to local network, perform firmware updates, configure remote access, and validate device communication. | Automation Infrastructure | Residential Smart Home
Home Assistant Server - Standard Deployment | SMH-HAS-STD-EA-SIS | EACH | 2.5 | Includes labor to assemble or deploy Home Assistant server hardware, install operating environment, configure network connectivity, perform firmware and software updates, configure backups, and validate platform operation. | Automation Infrastructure | Residential Smart Home
Home Assistant Server - Advanced Short-Term Rental Deployment | SMH-HAS-STR-EA-SIS | EACH | 4.5 | Includes labor to deploy Home Assistant automation platform for short-term rental management including remote access configuration, automation creation, alerting configuration, device grouping, logging setup, backup validation, and operational testing. | Automation Infrastructure | Residential Smart Home
Home Assistant Remote Access Configuration | SMH-HAS-REM-EA-SIS | EACH | 1 | Includes labor to configure secure remote access connectivity, DNS or cloud integration, user permissions, mobile application access, and remote platform validation. | Automation Infrastructure | Residential Smart Home
Home Assistant Automation Routine - Basic | SMH-HAS-AUTB-EA-SIS | EACH | 0.5 | Includes labor to create and validate standard automation routine including schedules, occupancy triggers, notification events, or simple device interaction logic. | Automation Programming | Residential Smart Home
Home Assistant Automation Routine - Advanced | SMH-HAS-AUTA-EA-SIS | EACH | 1.5 | Includes labor to create and validate advanced automation logic including conditional triggers, multi-device dependencies, geofencing, vacation rental workflows, environmental monitoring, or occupancy state management. | Automation Programming | Residential Smart Home
Home Assistant Dashboard Configuration | SMH-HAS-DSH-EA-SIS | EACH | 1.25 | Includes labor to create and configure customized Home Assistant dashboards including device grouping, room views, mobile optimization, and user interface validation. | Automation Programming | Residential Smart Home
Home Assistant Device Integration - Third Party API | SMH-HAS-API-EA-SIS | EACH | 1.25 | Includes labor to integrate supported third-party smart home platforms, APIs, cloud services, or manufacturer ecosystems into Home Assistant environment including validation and troubleshooting. | Automation Programming | Residential Smart Home
Short-Term Rental Smart Access Package | SMH-STR-ACC-EA-SIS | EACH | 3.5 | Includes labor to configure integrated short-term rental smart access package including smart lock setup, remote credential management, automation events, occupancy status integration, and remote monitoring validation. | Smart Rental Automation | Residential Smart Home
Short-Term Rental Environmental Monitoring Package | SMH-STR-ENV-EA-SIS | EACH | 2 | Includes labor to deploy and configure environmental monitoring devices including temperature, humidity, leak detection, occupancy monitoring, and automated notification integration. | Smart Rental Automation | Residential Smart Home
Short-Term Rental Unified Property Automation Package | SMH-STR-UPA-EA-SIS | EACH | 6.5 | Includes labor to deploy unified automation environment integrating locks, thermostats, sensors, lighting, and remote management platform for centralized short-term rental property control and monitoring. | Smart Rental Automation | Residential Smart Home
Residential Automation Network Gateway | SMH-GTW-NET-EA-SIS | EACH | 0.75 | Includes labor to install and configure automation gateway hardware supporting Zigbee, Z-Wave, or hybrid smart device communication platforms. | Automation Infrastructure | Residential Smart Home
Residential IoT VLAN Configuration | SMH-NET-VLAN-EA-SIS | EACH | 1.25 | Includes labor to configure dedicated IoT VLAN, wireless SSIDs, firewall segmentation, DHCP scope assignment, and connectivity validation for smart home devices. | Residential Networking | Residential Smart Home
Residential Smart Device Firmware Management | SMH-FRM-UPD-EA-SIS | EACH | 0.15 | Includes labor to perform firmware updates, verify operational status, and validate post-update device communication. | Service & Maintenance | Residential Smart Home
Residential Smart Home System Commissioning | SMH-CMS-UNT-EA-SIS | EACH | 2.5 | Includes labor to validate integrated smart home system operation, test automations, verify remote access functionality, validate notification delivery, and document operational status at project completion. | System Commissioning | Residential Smart Home
Residential Smart Home Client Orientation and Training | SMH-TRN-CLI-EA-SIS | EACH | 1 | Includes labor to provide homeowner or property manager training covering mobile applications, automation usage, remote management procedures, and standard troubleshooting guidance. | System Commissioning | Residential Smart Home

## Summary & Index
Sheet Summary & Version Index
Current Version | Last Modified | Block 1 (Major) Trigger | Block 2 (Minor) Trigger | Block 3 (Line) Trigger | Status
0.00.00 | 2026-05-15 | New pages, tables, or 4+ page edits | Small revisions, formula/rate changes | Line edits, adding to data structures | Active
Workbook-Wide Notes
This workbook uses dynamic links to automatically calculate rates. The Consumables and Shop Supplies tab is dynamically linked to the Field Technician Standard Billing Rate. Version control is managed via the Apps Script menu. Use the Version Counter to increment major, minor, or line edits appropriately.
Tab Index & Descriptions
Tab Name | Description | Primary Use
Hourly Labor Rates | Defines base rates, multipliers, and billing rates for field positions. | Labor Pricing
Complexity Multipliers | Lists multipliers applied to services based on job complexity. | Pricing Modifiers
Full-Service Plan Rates | Flat rates for full-service plans based on property size. | Service Plans
Maintenance Plan Rates | Flat rates for maintenance plans based on property size. | Service Plans
Inspection Plan Rates | Flat rates for inspection plans based on property size. | Service Plans
Consumables and Shop Supplies | Pricing and labor units for materials, dynamically linked to labor rates. | Material Pricing

## Version Log (hidden)
Timestamp | Version | User | Note
2026-05-15 14:39 | 0.00.00 | ryan.k@smokypeak.tech | Initial version log setup.